# River-habitat water-sample monitoring: Stone Hill River Reach

Revision v2. Record EV-HAB-08.

Site: Stone Hill River Reach; asset: river-reach sampling point H.

EV-HAB-08 Stone Hill: reference turbidity for the river reach 5.7 NTU; review within 28 min.

during cold start, collect an upstream comparison sample when above the reference value; log readings in HABITAT-LOG-098.